specompnl.f

Decomposes spectra to subspectra , ci positive, by arbitrary parameter (() fewer large coefficients are preferred over many small

Files

SP.LST

list of spectra, first is decomposed, second and other should have the same number of points which may be different from the first

SP.OPT

List of options

Options (default)

alpha (10-6)	(

wmin (0)	minimal frequency for decomposition interval, in cm-1

wmax (4000)	maximal frequency for decomposition interval, in cm-1

xs0 (0)

xs1 (1)

xs2 (0)		scaling factors for subspectra, x' = xs0 + xs1 (( x+ xs2 (( x2

lwr (f)		extended output

conjugate  (f)	conjugate gradient minimization

obyc (f)	direct (classical) decomposition

tolerance (0.01)	maximal error

itolerance (10-10)	maximal error for inversion

damp (0.5)		damping (0...1)

ladj (f)		adjust coefficients to normalization

lcon (f)		use broadened subspectra,

ggg (20)		g in cm-1

lstable (f)		look for assignment table STABLE.TXT

usem (f)		use previous correlation matrix if available

usec (f)		use previous coefficients if available

STABLE.TXT (optional)

each line contains experimental and calculated frequency of particular peak

Theory - non-linear problem

, prefer fewer large hits by

,,

Algorithm

1) Input decomposed spectrum S

2) Set all , N is number of the subspectra

3) calculate ,,

4) form and

5) get new coefficients as ,  where d is the mixing (damping) coefficient

6) if they still change, go to 3

Classical way, direct decomposition:

Spectral convolution - obsolete option

Direct product,

Smeared product

Max

c(0: I = 0

c(inf: I...direct product

c=b=a: I

Example

( = (  = 0.0025

A – B = 0 			A – B = 20			 A – B = 40

Idir = 0.020				Idir = 0.012		Idir = 0.0027

( = 0.0001:

Imod = 0.005                           		Imod = 0.005 		Imod = 0.005

( = 0.0025:

Imod = 0.016                           		Imod = 0.012 		Imod = 0.0043

( = 0.01:

Imod = 0.019				Imod = 0.012 		Imod = 0.0032

Modifications

Variation I

1) Orthonormalize N subspectra {Si} to M {Bo} non-redundant,

2) decompose , co all positive (see above)

, pi all positive

3) Calculate  and normalize

Variation II